ADAPTER

A Trident model #01.092.0 1.5” female NH x 1” NPSH rocker lug chrome plated brass male adapter shall be provided.