ADAPTER

A Trident model #01.008.0 2.5” female NH x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.