ADAPTER

A Trident model #01.S08.7 3.125” x 5TPI CSA female x 1.5” NPSH rocker lug chrome plated brass male adapter shall be provided.