ADAPTER

A Trident model #01.S08.21 2.990” x 8TPI AMA female x 1.5” NPSH rocker lug chrome plated brass male adapter shall be provided.