ADAPTER

A Trident model #01.S08.1 3.000” x 8TPI female x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.