ADAPTER

A Trident model #01.S08.5 3.030” x 8TPI female x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.