ADAPTER

A Trident model #01.S08.23 3.031” x 7TPI QST female x 1.5” NPSH rocker lug chrome plated brass male adapter shall be provided.