ADAPTER

A Trident model #01.S08.0 3.062” x 6 TPI female x 1.5” NPSHH rocker lug chrome plated brass male adapter shall be provided.