ADAPTER

A Trident model #01.S08.31 3.077” x 7 TPI female x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.