ADAPTER

A Trident model #01.S08.28 3.156” x 6 TPI female x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.