ADAPTER

A Trident model #01.S08.13 3.165” x 7.5 TPI female x 1.5” NH rocker lug chrome plated brass male adapter shall be provided.