ADAPTER

A Trident model #01.S08.11 3.230” x 5TPI NSS female x 1.5” NPSH rocker lug chrome plated brass male adapter shall be provided.