ADAPTER

A Trident model #01.S08.22 3.250” x 6TPI WCT female x 1.5” NPSH rocker lug chrome plated brass male adapter shall be provided.