ADAPTER

A Trident model #01.S18.25 2.5” female NH x 2.990” x 8 TPI AMA rocker lug chrome plated brass male adapter shall be provided.