ADAPTER

A Trident model #01.S18.21 2.5”NH female x 3.250” x 5 TPI rocker lug chrome plated brass male adapter shall be provided.