ADAPTER

A Trident model #01.S18.28 2.5”NH female x 2.950” x 8 TPI rocker lug chrome plated brass male adapter shall be provided.