ADAPTER

A Trident model #01.S18.30 2.5”NH female x 2.968” x 8 TPI rocker lug chrome plated brass male adapter shall be provided.