ADAPTER

A Trident model #01.S18.1 2.5”NH female x 3.062” x 6 TPI rocker lug chrome plated brass male adapter shall be provided.