ADAPTER

A Trident model #01.S18.29 2.5”NH female x 3.062” x 8 TPI rocker lug chrome plated brass male adapter shall be provided.