ADAPTER

A Trident model #01.106.0 2.5”NH female x 3.125” x 6 TPI rocker lug chrome plated brass double lead male adapter shall be provided.