ADAPTER

A Trident model #01.S18.18 2.5”NH female x 3.165” x 7.5 TPI rocker lug chrome plated brass male adapter shall be provided.