ADAPTER

A Trident model #01.S18.34 3.000” x 8 TPI female x 3.250” x 5 TPI rocker lug chrome plated brass male adapter shall be provided.