ADAPTER

A Trident model #01.S18.31 3.030” x 7 TPI female x 3.000” x 8 TPI rocker lug chrome plated brass male adapter shall be provided.