ADAPTER

A Trident model #01.S68.27 2.990” x 8 TPI AMA swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.