ADAPTER

A Trident model #01.S68.32 3.250” x 5 TPI PEI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.