ADAPTER

A Trident model #01.S68.13 3.030” x 8 TPI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.