ADAPTER

A Trident model #01.S68.15 3.125” x 5 TPI CSA swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.