ADAPTER

A Trident model #01.106.1 3.125” x 6 TPI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.