ADAPTER

A Trident model #01.S68.9 3.125” x 7.5 TPI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.