ADAPTER

A Trident model #01.S68.28 3.230” x 5 TPI NSS swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.