ADAPTER

A Trident model #01.S68.0 3.234” x 6 TPI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.