ADAPTER

A Trident model #01.S68.19 3.250” x 5 TPI swivel female x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.