ADAPTER

A Trident model #01.S68.3 3.000” x 8 TPI swivel female x 3” NH rocker lug chrome plated brass male adapter shall be provided.