ADAPTER

A Trident model #01.065.0 4” rigid female NH x 2.5” NH rocker lug chrome plated brass male adapter shall be provided.