ADAPTER

A Trident model #01.012.0 2.5” NH female x 2.5” NH rocker lug chrome plated brass double female adapter shall be provided.