DOUBLE FEMALE ADAPTER

A Trident model #01.S12.0 3.125" x 5 TPI x 23.125" x 5 TPI CSA rocker lug chrome plated brass double female adapter shall be provided.