DOUBLE FEMALE ADAPTER

A Trident model #01.S12.10 3.230" x 5 TPI x 3.230" x 5 TPI NSS rocker lug chrome plated brass double female adapter with strainer shall be provided.