DOUBLE FEMALE ADAPTER

A Trident model #01.S12.11 3.250" x 5 TPI x 3.250" x 5 TPI PEI rocker lug chrome plated brass double female adapter with strainer shall be provided.