DOUBLE FEMALE ADAPTER

A Trident model #01.S12.7 2.5” NH x 3.031" x 7 TPI QST rocker lug chrome plated brass double female adapter shall be provided.