DOUBLE FEMALE ADAPTER

A Trident model #01.S12.12 3.250” x 6TPI x 3.250" x 6 TPI WCT rocker lug chrome plated brass double female adapter shall be provided.