DOUBLE FEMALE ADAPTER

A Trident model #01.S12.9 2.841" x 8 TPI NPSH x 3.250" x 6 TPI WCT rocker lug chrome plated brass double female adapter shall be provided.