ADAPTER

A Trident model #01.S12.6 2.841" x 8 TPI NPSH x 2.841" x 8 TPI NPSH rocker lug chrome plated brass double female adapter shall be provided.