DOUBLE FEMALE ADAPTER

A Trident model #01.S12.8 2.5” NH female x 2.990” x 8 TPI AMA rocker lug chrome plated brass double female adapter shall be provided.