ADAPTER

A Trident model #01.S12.3 2.5” NH x 3.031" x 6 TPI rocker lug chrome plated brass double female adapter shall be provided.