ADAPTER

A Trident model #01.S12.2 3.062" x 6 TPI x 3.062" x 6 TPI rocker lug chrome plated brass double female adapter shall be provided.