DOUBLE FEMALE ADAPTER

A Trident model #01.S12.1 3.125" x 5 TPI x 3.125" x 5 TPI CSA rocker lug chrome plated brass double female adapter with strainer shall be provided.