ADAPTER

A Trident model #01.S12.4 3" NH x 3.031" x 7 TPI rocker lug chrome plated brass double female adapter with strainer shall be provided.