DOUBLE MALE ADAPTER

A Trident model #01.011.0 2.5" NH x 2.5” NH rocker lug chrome plated brass double male adapter shall be provided.