PLUG

A Trident model #01.103.0 1” NH rocker lug chrome plated brass plug with chain shall be provided.