PLUG

A Trident model #01.048.10 1.5” NH rocker lug chrome plated brass plug with cable restraint shall be provided.